## Sheet1
Number of Tubes | Temp T1 [°C] | Temp T2 [°C] | Temp T3 [°C] | Temp T4 [°C] | Temp T5 [°C] | Temp T6 [°C] | Temp T7 [°C] | Temp T8 [°C] | Temp T9 [°C] | Temp T10 [°C] | Hot Water Pump Setting [%] | Hot Water Flowrate Fhot [l/min] | Cold Water Valve Setting [%] | Cold Water Flowrate Fcold [l/min] | Pump Direction | Flow Orientation | Hot Fluid Measurement Point | Hot Fluid Temperature [°C] | Cold Fluid Measurement Point | Cold Fluid Temperature [°C] | Distance From Hot Inlet [mm]
4 | 15.8457 | 15.9106 | 15.9106 | 16.1379 | 16.1704 | 14.1897 | 14.4819 | 14.417 | 15.0015 | 15.1313 | 35 | 1.9897 | 44 | 0.98877 | 0 | Cocurrent | T5 | 16.1704 | T6 | 14.1897 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | T4 | 16.1379 | T7 | 14.4819 | 670
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | T3 | 15.9106 | T8 | 14.417 | 1340
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | T2 | 15.9106 | T9 | 15.0015 | 2010
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | T1 | 15.8457 | T10 | 15.1313 | 2680