## Sheet1
Number of Tubes | Temp T1 [∞C] | Temp T2 [∞C] | Temp T3 [∞C] | Temp T4 [∞C] | Temp T5 [∞C] | Temp T6 [∞C] | Temp T7 [∞C] | Temp T8 [∞C] | Temp T9 [∞C] | Temp T10 [∞C] | Hot Water Pump Setting [%] | Hot Water Flowrate Fhot [l/min] | Cold Water Valve Setting [%] | Cold Water Flowrate Fcold [l/min] | Pump Direction | Flow Orientation | Hot Fluid Measurement Point | Hot Fluid Temperature [∞C] | Cold Fluid Measurement Point | Cold Fluid Temperature [∞C] | Distance From Hot Inlet [mm]
2 | 55.2976 | 52.8948 | 52.8623 | 51.4336 | 51.7908 | 39.0298 | 19.3525 | 44.907 | 19.1577 | 34.2891 | 40 | 2.9907 | 42 | 0.70801 | 1 | Countercurrent | T1 | 55.2976 | T10 | 34.2891 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | T2 | 52.8948 | T9 | 19.1577 | 670
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | T3 | 52.8623 | T8 | 44.907 | 1340