## Sheet1
| Number of Tubes | Temp T1 [∞C] | Temp T2 [∞C] | Temp T3 [∞C] | Temp T4 [∞C] | Temp T5 [∞C] | Temp T6 [∞C] | Temp T7 [∞C] | Temp T8 [∞C] | Temp T9 [∞C] | Temp T10 [∞C] | Hot Water Pump Setting [%] | Hot Water Flowrate Fhot [l/min] | Cold Water Valve Setting [%] | Cold Water Flowrate Fcold [l/min] | Pump Direction | Flow Orientation | Hot Fluid Measurement Point | Hot Fluid Temperature [∞C] | Cold Fluid Measurement Point | Cold Fluid Temperature [∞C] | Distance From Hot Inlet [mm]
0 | 4 | 53.4792 | 51.2063 | 48.8684 | 45.8811 | 41.9521 | 13.865 | 22.4373 | 28.5093 | 33.5098 | 38.77 | 29 | 2.063 | 40 | 0.79346 | 1 | Countercurrent | T1 | 53.4792 | T10 | 38.77 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | T2 | 51.2063 | T9 | 33.5098 | 670
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | T3 | 48.8684 | T8 | 28.5093 | 1340
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | T4 | 45.8811 | T7 | 22.4373 | 2010
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | T5 | 41.9521 | T6 | 13.865 | 2680